# Fire Safety

Kirk O’Shotts Nursery understands the importance of vigilance to fire safety hazards.  As good practice Nursery Staff undertake fire awareness training and display certificates.  Notices explaining the fire procedures are positioned next to every fire exit. What to do in the event of fire will form a part of the introduction/induction of new members of staff.  All staff, students, volunteers should be  aware of the fire safety procedures set out in this policy. Children will be made aware of the fire safety procedures during their settling in period through regular fire drills.

Everyone should be aware of the location of all fire exits, manual breaking of glass fire box, the fire assembly point and where fire safety equipment is stored.  Particular attention is paid to distinguishing between the various types of fire extinguisher and their methods of operation.  (Refer to website www.hse.gov.uk)

Fire doors and fire exits are clearly marked, are not obstructed at any times, and are easily opened from the inside.

Fire exits are kept closed at all times.  Fire extinguishers are regularly tested in accordance with North Lanarkshire manufacturers’ guidance.  Fire alarm systems are regularly tested in accordance with North Lanarkshire's school policy and procedure. The Nursery will hold fire drills without prior warning. All fire drills, fire incidents and equipment checks will be recorded.

The fire steward for Kirk O’Shotts Nursery Class is Lizz Cairns.

When staff escort children either to the gym hall or outdoors registers must be carried at all times.

Fire evacuation procedure

- On discovering a fire / or the fire alarm sounding, evacuate the building from the nearest fire door:

- A ) dinner hall door leading to playground OR

- B ) door leading into outside play area

- Only tackle small fires yourself using the appropriate fire appliances and where there is no risk to yourself.

- Alert office staff to telephone the fire brigade if necessary.

- On evacuating the building act calmly and quietly to avoid alarming / scaring the children. Take care and do not rush the children which may result in accidents, provide reassurance.

- Staff Roles & Responsibilities :

Any staff outdoors - Hold Fire Exit door open for those inside

A member of staff inside to - Collect Sign In/Out Register

Last person to leave room to check toilets and ensure door is closed

Once the children are in the assembly points Senior Staff  must take a register to ensure that all the children are accounted for together in the safe point. Do not enter the building until informed it is safe to do so by the Head Teacher, Senior Staff or Fire Brigade.

|  | This policy was reviewed in May 2017 |
| --- | --- |